| Job Task: Use of Office Equipment – Computer, Printer, Photocopier, Shredder and Facsimile Unit | Masters Swimming Branch – SA |
| --- | --- |
|  | Applicable Positions (Typical) – State or Club Secretary, Recorder, Website Manager, etc. |
|  | Location – State Association House (SAH), Home Office or Temporary Site Location |

# RISK IDENTIFICATION AND CONTROLS

NOTE: PPE for each chemical must be listed as per the relevant MSDS

R1 Risk without controls	      R2 Risk with controls

| Procedural Step(s) | Possible Hazard(s) | R1 | Safety Control(s) | R2 |
| --- | --- | --- | --- | --- |
| Preparation of work area and machine installation Check cables Check guards Set-up computer | Sprains, strains and trips Cuts/abrasions/superficial injuries Crush injuries Paper cuts/lacerations Electrocution Manual handling injuries | L | Locate equipment on flat, secure and stable surface at a comfortable working height to reduce manual handling and crush injuries Ensure cables are secured in place to reduce slip/trip and falls, and reduce wear and tear Check cables for frayed or bare wires and that the plug is not damaged Check all guards are in place and are undamaged Report damage to cables, equipment and guarding via Incident Report Form to Branch Safety Officer. Do not use if damaged Ensure all electrical connections are completely plugged in and secured, if necessary. Do not overload circuitry with multiple power boards in single power points | L |
| Operate the machines Switch on Load paper Print, copy or fax | Sprains and strains Cuts/abrasions/superficial injuries Crush injuries Paper cuts/lacerations Electrocution Exposure to chemicals Screen radiation (low risk) | S | Operate the machines according to manufacturer’s instructions, including loading and retrieval of paper and clearing paper jams Only undertake maintenance of machines as detailed in manufacturer’s instructions for operators. Contact authorised service provider for repairs and other maintenance Keep lid down when using the photocopier Do not wear loose clothing, scarves, ties, dangling jewellery, long hair, etc. around the equipment Read toner safety data sheets and machine operating instructions prior to installing new cartridges. Follow manufacturer’s instructions and wear appropriate personal protective equipment (PPE) Ensure room containing machines is suitably ventilated (e.g. open windows, extraction fans) with appropriate lighting Consider the height and positioning of equipment and work surfaces to avoid operators sustaining awkward postures Visually check that circuits are protected and operating (e.g. earth leakage circuit breakers) Vary tasks during periods of long operation | L |

| Procedural Step(s) | Possible Hazard(s) | R1 | Safety Control(s) | R2 |
| --- | --- | --- | --- | --- |
|  |  |  | Take regular breaks from computer work Exercise after every hour of keyboarding Use correctly adjusted ergonomic furniture with well-adjusted screen, keyboard, mouse and chair Where possible, connect laptop to separate keyboard |  |
| After use Clear paper Switch off | Sprains and strains Cuts/abrasions/superficial injuries Paper cuts/lacerations Electrocution | L | Operate the machine according to manufacturer’s instructions, including loading and retrieval of paper and clearing paper jams Clear paper from output paper trays Visually check that circuits are protected and operating (e.g. earth leakage circuit breakers) Test and tag electrical equipment on a regular basis | L |
|  | Overall Risk Rating | S | Overall Risk Rating | L |

RISK RATING GUIDE

|  |  | Consequence |
| --- | --- | --- |
|  |  | Death Catastrophic Illness/Injury | Major Extensive Injuries | Moderate Medical Treatment Required | Minor No Injuries |
| Likelihood | Almost Certain Occurred Before/Expected | H | H | S | S |
|  | Likely Probably Will Occur | H | S | S | S |
|  | Moderate May Occur At Some Time | H | S | L | L |
|  | Unlikely Unusual or Rare Situation | S | L | L | L |
|  |  | High (H) – Cease exposure immediately until protection, approved at senior management level, implemented |
|  |  | Significant (S) – Procedures alone may not be enough, senior management attention required |
|  |  | Low (L) – May be managed by routine procedures, some risks in this category may be acceptable |

SPECIFIC TASK REQUIREMENTS

Qualifications or Experience

Workplace induction

Training

In-house training in use of machines Manual handling training

Engineering Details, Certificates and WorkCover Approvals

Ensure that testing and tagging of all 240 volt equipment has been completed and recorded within the past two years (NOTE: AS/NZS 3760 – 2010 In-service Safety Inspection and Testing of Electrical Equipment sets out indicative inspection and testing intervals for certain electrical equipment, including RCD’s used in a variety of different operating environments)

Relevant Codes of Practice, Legislation and Standards

Manufacturer’s Operators Manuals Work Health and Safety Act 2012 (SA) Work Health and Safety Regulations 2012 (SA) Code of Practice: Hazardous Manual Tasks (December 2011) Code of Practice: Managing Electrical Risks in the Workplace (July 2012) Officewise: A Guide to Health and Safety in the Office; WorkSafe Victoria (January 2006) AS/NZS 1680.1:2006 & AS 1680.2:1994 Interior Lighting codes National Standard for Manual Tasks (August 2007) National Code of Practice for the Prevention of Musculoskeletal Disorders from Performing Manual Tasks at Work (2007)

Plant/Equipment

Computer CPU, screen, mouse, keyboard and adjustable chair Document holders (optional) Ergonomic furniture Printer/Photocopier Facsimile unit Paper shredder

Maintenance Checks and Site/Workplace Inspections

Refer to manufacturer’s operators manual Check that building owner has maintained electrical circuits safely (e.g. with circuit breakers/fuses, earth leakage devices, etc.)

# Suggested Improvements (in order of priority)

Additional Comments

Assessment Dates

| Initial Assessment Date | Current Assessment Date | Reassessment Date |
| --- | --- | --- |

Assessors

| Name | Signature | Date |
| --- | --- | --- |

Recommendation		Follow up required

| Name | Signature | Date |
| --- | --- | --- |

Approval

| Name | Signature | Date |
| --- | --- | --- |

I have read and understood this Safe Work Method Statement

| Name | Signature | Date |
| --- | --- | --- |